## Sheet1
JOB NAME
M0x-xxxx.xx
Fixture | Flow Rate (GPM) | Count | Duration (min)
Shower (1 head) | 2.5 | 0 | 15 | CW Temp | = | 50 | ˚F
Mop Basin/Laundry Tub | 2.2 | 1 | 5 | HW Temp | = | 105 | ˚F
Lavatory/Sink | 2.2 | 8 | 2
Bathtub | 4 | 0 | 10 | ∆T | = | 55 | ˚F
Clothes Washer | 4 | 0 | 5
Dishwasher | 1.5 | 0 | 5
Shower (4 heads) | 10 | 0 | 15
Bidet | 2.2 | 0 | 5
|  |  |  | % Hot | = | 0.78571
Fixture | BTU/hr Calc | Gallons | Watts/hr Calc
Shower (1 head) | 0 | 0 | 0
Mop Basin/Laundry Tub | 3959.725 | 8.6429 | 1160.5954
Lavatory/Sink | 12671.12 | 27.6571 | 3713.9053
Bathtub | 0 | 0 | 0
Clothes Washer | 0 | 0 | 0
Dishwasher | 0 | 0 | 0
Shower (4 heads) | 0 | 0 | 0
Bidet | 0 | 0 | 0
Totals | 16630.845 | 36.3 | 4874.5007